АНОТАЦІЯ

Кваліфікаційна робота включає пояснювальну записку (67 с., 23 рис., 2 табл., 4 додатки).

Об’єкт розробки – комп’ютерна система дистанційного контролю умов зберігання медикаментів на основі мікроконтролера ESP32.

Розроблена система дозволяє здійснювати моніторинг температури, вологості та атмосферного тиску в режимі реального часу. Дані з сенсорів передаються на вебінтерфейс за допомогою бездротового зв’язку, де вони візуалізуються у вигляді графіків та аналітичної інформації. Передбачено автоматичне сповіщення у разі виходу параметрів за допустимі межі та у разі зміни живлення. Система переходить на резервне живлення, що забезпечує безперервність моніторингу.

В процесі розробки:

- проведено аналіз сучасних систем моніторингу умов зберігання медичних препаратів;

- визначено вимоги до системи з урахуванням критичних норм зберігання медикаментів;

- спроєктовано архітектуру системи збору, передачі та обробки даних;

- реалізовано прошивку для мікроконтролера ESP32 з підключенням сенсорів BME280 та модулю GSM;

- розроблено серверну частину з обробкою вхідних даних через WebSocket і зберіганням у базі даних AWS DynamoDB;

- реалізовано вебінтерфейс для візуального аналізу історичних та поточних показників;

Упровадження такої системи дозволить підвищити надійність та безпеку зберігання чутливих до умов середовища медикаментів, що є особливо актуальним для аптечних складів, лікарень і лабораторій.

Ключові слова: ESP32, СИСТЕМА МОНІТОРИНГУ, УМОВИ ЗБЕРІГАННЯ МЕДИКАМЕНТІВ, WEBSOCKET, BME280, РЕЗЕРВНЕ ЖИВЛЕННЯ, ВЕБІНТЕРФЕЙС, ХМАРНА БАЗА ДАНИХ.

ABSTRACT

The qualification work includes an explanatory report (67 pages, 23 figures, 2 tables, 4 appendices).

The object of development is a computer-based remote monitoring system for storage conditions of pharmaceuticals, based on the ESP32 microcontroller.

The developed system enables real-time monitoring of temperature, humidity, and atmospheric pressure. Sensor data is transmitted via wireless communication to a web interface, where it is visualized in the form of graphs and analytical information. Automatic notifications are provided when the parameters exceed permissible limits or in case of a power supply change. The system switches to backup power to ensure uninterrupted monitoring.

During the development process:

- an analysis of modern monitoring systems for pharmaceutical storage conditions was conducted;

- the system requirements were defined, taking into account the critical storage standards for medications;

- the architecture of the data acquisition, transmission, and processing system was designed;

- firmware for the ESP32 microcontroller was implemented, including integration with BME280 sensors and a GSM module;

- a server-side application was developed for processing incoming data via WebSocket and storing it in an AWS DynamoDB cloud database;

- a web interface was implemented for visual analysis of historical and real-time data.

The implementation of such a system will improve the reliability and safety of storing environment-sensitive pharmaceuticals, which is particularly relevant for pharmacy warehouses, hospitals, and laboratories.

Keywords: ESP32, MONITORING SYSTEM, PHARMACEUTICAL STORAGE CONDITIONS, WEBSOCKET, BME280, BACKUP POWER, WEB INTERFACE, CLOUD DATABASE.