АНОТАЦІЯ

Бакалаврський дипломний проект включає пояснювальну записку (56 стор., 55 рис., 3 табл., список використаної літератури з 15 найменувань, 4

додатків).

Об’єкт розробки – створення програмно-технічного комплексу, а саме контролера автоматичного поливу на основі програмованої плати Arduino з системою аналізу погодних умов для коригування часу поливу з можливістю керування контролером дистанційно через Bluetooth.

В ході розробки:

- Проведено аналіз наявних систем автоматичного поливу;

- Розроблено фізичний макет самого контролера з підключенням датчиків і реле;

- Розроблена операційна система даного контролера;

- Розроблена функція розумного поливу для зміни тривалості поливу в залежності від умов;

Програмний код контролера написаний на мові Wiring, яка являється адаптацією мови C++ для Arduino, а також були використані бібліотеки для роботи з датчиками. Середовище розробки – Arduino IDE.

Ключові слова: Arduino, C++, Wiring, контролер, полив.

ANNOTATION

The bachelor’s qualification work includes an explanatory note (56 pages, 55 Images, 3 tables, a list of used literature from 15 names and 4 appendices).

The object of development is the creation of a software-hardware complex, namely an automatic irrigation controller based on the Arduino programmable board with a weather analysis system for adjusting irrigation time, with the ability to control the controller remotely via Bluetooth.

During the development:

- An analysis of existing automatic irrigation systems was carried out;

- A physical prototype of the controller was developed with the connection of sensors and relays;

- The operating system of the controller was developed;

- A smart irrigation function was developed to adjust the irrigation duration depending on conditions.

The controller’s software code is written in the Wiring language, which is an adaptation of C++ for Arduino, and libraries for working with sensors were also used. The development environment is Arduino IDE.

Keywords: Arduino, C++, Wiring, controller, irrigation.